# Activity B14: EKG – Rest and Exercise
(EKG Sensor)

| Concept | #### DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- | --- |
| Physiology | B14 EKG Exercise.DS | B14 EKG Rest & Exercise | B14_EKGR.SWS |

| Equipment Needed | ## Qty | ## Chemicals and Consumables | Qty |
| --- | --- | --- | --- |
| EKG Sensor (CI-6539) | 1 | electrode patches (inc. with sensor) | 1 |
| chair or couch | 1 | paper towel | 3 |
| clock | 1 |  |  |

### NOTE: This activity requires the person whose EKG is being measured to perform mild exercise (e.g., jogging in place) for three minutes. Do NOT perform this activity if vigorous activity will cause discomfort or be hazardous to the health of the person.

## What Do You Think?

How does a person’s electrocardiogram (EKG) of a person at rest compare to the electrocardiogram of the same person after mild exercise?

Take time to write an answer to this question in the Lab Report section.

## Background

Activity stimulates the heart to contract more vigorously than it does when the body is at rest. The EKG (electrocardiogram) sensor measures cardiac electrical potential waveforms (voltages) produced by the heart as its chambers contract. The EKG is not a direct measure of heart muscle activity. However, a comparison of the EKG measured during rest and the EKG measured after mild exercise may indicate the changes that take place in the cycle of heart contractions due to activity.

### The Electrocardiogram

One part of a typical EKG (electrocardiogram) is a ‘flat line’ or trace indicating no detectable electrical activity. This line is called the Isoelectric line. Deviation from this line indicates electrical activity of the heart muscles.

The first deviation from the Isoelectric line in a typical EKG is an upward pulse following by a return to the Isoelectric line. This is called the P wave and it lasts about 0.04 seconds.

After a return to the Isoelectric line there is a short delay while the heart’s AV node depolarizes and sends a signal along the atrioventricular bundle of conducting fibers (Bundle of His) to the Purkinje fibers, which bring depolarization to all parts of the ventricles almost simultaneously.

After the AV node depolarizes there is a downward pulse called the Q wave. Shortly after the Q wave there is a rapid upswing of the line called the R wave followed by a strong downswing of the line called the S wave and then a return to the Isoelectric line. These three waves together are called the QRS complex. This complex is caused by the depolarization of the ventricles and is associated with the contraction of the ventricles.

After a short period of time the chemical ions that have been involved in the contraction migrate back to their original locations. The movement of these ions generates an upward wave that then returns to the Isoelectric line. This upward pulse is called the T wave and indicates repolarization of the ventricles.

The sequence from P wave to T wave represents one heart cycle. The number of such cycles in a minute is called the heart rate and is typically 70-80 cycles (beats) per minute at rest.

| Some typical times for portions of the EKG are given below. If your EKG does not correspond to the numbers, DO NOT BE ALARMED! These numbers represent typical averages and many healthy hearts have data that fall outside of these parameters. To read an EKG effectively takes considerable training and skill. This sensor is NOT intended for medical diagnoses. |  |
| --- | --- |

P-R interval... 120-200 milliseconds (0.120 to 0.200 seconds)

QRS interval... under 100 milliseconds (under 0.100 seconds)

Q-T interval... under 380 milliseconds (under 0.380 seconds)

| ## SAFETY REMINDER ### Follow all safety instructions. ### This activity requires the person whose EKG is being measured to perform mild exercise (e.g., jogging in place) for three minutes. Do NOT perform this activity if vigorous activity will cause discomfort or be hazardous to the health of the person. |  |
| --- | --- |

## For You To Do

Use the EKG sensor to measure the electrical current associated with the heart’s contractions when a person is at rest and then after the person has done mild exercise. Use DataStudio or ScienceWorkshop to record and display the electrocardiogram (heart voltage signals). Use the software to calculate heart rate based on the peaks and valleys in the EKG trace.

Compare the EKG during rest to the EKG after mild exercise.

## PART I: Computer Setup

1.	Connect the ScienceWorkshop interface to the computer, turn on the interface, and turn on the computer.

2.	Connect the EKG sensor’s DIN plug into Analog Channel A on the interface.

3.	Open the file titled as shown:

| #### DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- |
| B14 EKG Exercise.DS | B14 EKG Rest & Exercise | B14_EKGR.SWS |

•	The DataStudio file has a Workbook display. Read the instructions in the Workbook.

•	The ScienceWorkshop file opens with a Graph display of “EKG Voltage (mV) ” versus “Time (s)” on one plot, and “Heart Rate (bpm)” versus “Time (s)” on the second plot.

•	Data recording is set for 100 samples per second. Data recording stops automatically at 15 seconds.

## PART II: Sensor Calibration and Equipment Setup

The sensor is designed to produce a signal between 0 and five volts with 1 volt being the Isoelectric line. Deviation from the Isoelectric line indicates electrical activity. The shape and periodicity of the signal is of primary importance, so the sensor does not need to be calibrated.

### Equipment Setup: Connecting the EKG Sensor to a Person

- Use three electrode patches per subject. The electrodes can be reused but they tend to absorb moisture (they are very hygroscopic), and therefore, reuse is not recommended. The electrodes should be kept in an airtight, clean, dry container for storage.

- Because the electrical signal produced by the heart and detected at the body’s surface is so small, it is very important that the electrode patch makes good contact with the skin. Scrub the areas of skin where the patches will be attached with a paper towel to remove dead skin and oil.

| 1. Peel three electrode patches from the backing paper. Firmly place the first electrode on the right wrist. Place a second electrode on the right elbow pit. Place the third electrode on the left elbow pit. - Place each electrode so it is on the inside part of the arm (closer to the body) and the tab on the edge of the electrode patch points down, so the wire of the sensor can hang freely without twisting the edge of the electrode patch. 2. Connect the micro alligator clips from the sensor to the tabs on the edges of the electrode patches. |  |
| --- | --- |

- Connect the black (or “reference”) alligator clip to the wrist electrode patch.

- This is the reference point for the “Isoelectric” line (baseline).

- Connect the green (or negative) alligator clip to the right elbow electrode patch.

- Connect the red (or positive) alligator clip to the left elbow electrode patch.

There are several different ways to connect the EKG sensor. This simple arrangement is appropriate for the classroom.

## PART IIIA: Data Recording – Resting EKG

## SAFETY NOTE: This activity requires the person whose EKG is being measured to perform mild exercise (e.g., jogging in place) for three minutes. Do NOT perform this activity if vigorous activity will cause discomfort or be hazardous to the health of the person.

- When everything is ready, start recording data. The values of data will be recorded in the Graph display. Data recording stops automatically at 15 seconds.

- The person whose EKG is being measured should remain calm and relaxed. Encourage the person to breathe normally.

- Muscle activity in the arms causes electrical signals that may overwhelm the cardiac signals. Remind the person whose EKG is being measured to relax and remain as still as possible.

- If the EKG trace is very irregular, remove the electrode patches. Use rubbing alcohol to more thoroughly clean the areas of skin where the electrodes will be placed. After the alcohol evaporates, put new electrode patches on the cleaned areas of skin.

## PART IIIB: Data Recording – EKG After Mild Exercise

1.	Remove the micro alligator clips from all three electrode patches. Leave the electrode patches attached to the person whose EKG is being measured.

2.	Have the person exercise for three minutes by jogging in place (or by doing any equivalent activity such as “stepping in place” or calisthenics).

3.	At the end of three minutes of exercise, have the person who is being measured sit down in a chair or lie down on a couch. Re-attach the micro alligator clips in the same arrangement as for PART IIIA.

4.	Start recording data. Data recording stops automatically at 15 seconds.

## Analyzing the Data

1.	Set up the Graph display to show both runs of data. Zoom in on a region of the first run of data that includes three or four complete heart cycles.

2.	Use the built-in analysis tools to measure the peaks of the P, Q, and R waves. Record the times in the Lab Report section.

•	Hint: In DataStudio, click the ‘Smart Tool’ button ().The ‘Smart Tool’ displays the coordinates of its position as you move it to any position in the Graph display. When the ‘Smart Tool’ is on a data point, the ‘x’ coordinate is the time and the ‘y’ coordinate is the voltage value at that point.

•	In ScienceWorkshop, click the ‘Smart Cursor’ button () and move the cursor into the display area. The coordinates of the cursor are displayed in the label area of the Y-axis and the X-axis.

3.	Calculate the P-R interval and record the time.

4.	Measure the peak of the S wave. Record the time.

5.	Calculate the Q-R-S interval and record the time.

6.	Measure the peak of the T wave. Record the time.

7.	Calculate the overall Q-T interval and record the time.

8.  	Using the graph’s built-in statistics tools, find the minimum, maximum, and mean for the Heart Rate.

9.	Repeat the data analysis process for the second run of data.

# Record your results in the Lab Report Section

# Lab Report - Activity B14: EKG – Rest and Exercise

## What Do You Think?

How does a person’s electrocardiogram (EKG) of a person at rest compare to the electrocardiogram of the same person after mild exercise?

## Data Table: Interval Analysis

| Item | Time (Run #1) | Time (Run #2) |
| --- | --- | --- |
| P wave begins | sec | sec |
| Q wave begins | sec | sec |
| R wave begins | sec | sec |
| S wave begins | sec | sec |
| T wave begins | sec | sec |

| Item | Time (Run #1) | Time (Run #2) | Typical Time |
| --- | --- | --- | --- |
| P-R interval | sec | sec | sec |
| QRS interval | sec | sec | sec |
| Q-T interval | sec | sec | sec |

## Data Table: Heart Rate Analysis

| Item | Rate (Run #1) | Rate (Run #2) |
| --- | --- | --- |
| Minimum | bpm | bpm |
| Maximum | bpm | bpm |
| Mean | bpm | bpm |

## Questions

1.	Compare your values for the P-R, Q-R-S, and Q-T intervals for the EKG at rest to the values for the P-R, Q-R-S, and Q-T intervals for the EKG after mild exercise. How do the time intervals for the EKG after mild exercise compare to the time intervals for the EKG at rest? What could explain the differences, if any?

2.	How do the time intervals for the EKG after mild exercise compare to the typical time intervals given earlier?

3.	What could explain the difference in the heart rate measured for the EKG at rest and the heart rate measured for the EKG after mild exercise?