# Activity C11: Determine n for a Chemical Reaction
(Pressure Sensor, Temperature Sensor)

| Concept | DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- | --- |
| Gas laws | C11 Determine n.DS | C11 Determine n | C11_N.SWS |

| Equipment Needed | Qty | Equipment Needed | Qty |
| --- | --- | --- | --- |
| Pressure Sensor (CI-6532A) | 1 | Test tube, 16 by 125 mm | 1 |
| Temperature Sensor (CI-6505A) | 1 | Tubing, plastic (w/sensor) | 1 |
| Balance (SE-8723) | 1 | Protective gear | PS |
| Bottle, 2 L | 1 | Chemicals and Consumables | Qty |
| Connector, rubber stopper (w/sensor) | 1 | Glycerin | 1 mL |
| Graduated cylinder | 1 | Nitric acid, 6 molar | 10 mL |
| Rubber stopper, two-hole | 1 | Sodium bicarbonate (baking soda) | 4 g |

## (*SAFETY CAUTION! Be very careful when handling acid!)

## What Do You Think?

The Ideal Gas Law (PV = nRT) relates the pressure, volume and temperature of a gas to the number of moles of gas. Can you use measurements of pressure, volume, and temperature for a gas produced during a chemical reaction to determine the number of moles of gas?

Take time to answer the ‘What Do You Think?’ question(s) in the Lab Report section.

## Background

The Ideal Gas Law (PV = nRT) relates the pressure, volume and temperature of a gas to the number of moles of gas. The Gas Constant, R, is a proportionality constant in the Ideal Gas Law,

PV = nRT

where P is the pressure of the gas in atmospheres, V is the volume in liters, n is the number of moles of the gaseous compound, R is the gas constant (0.082 atm • liters / mole • K) and T is the absolute temperature in Kelvins.

By rearranging the variables in this equation, the number of moles of a chemical compound can be calculated.

The reaction in this activity is the decomposition of sodium bicarbonate by nitric acid. The equation for the reaction is shown below:

NaHCO3 + HNO3 ===> NaNO3  +  CO2 + H2O

Since the equation is balanced, the number of moles of sodium bicarbonate used in the reaction is equal to the number of moles of carbon dioxide formed. It is a one-to-one stoichiometric relationship.

An excess of acid is used to insure the complete reaction of sodium bicarbonate to form carbon dioxide. Sodium bicarbonate is the limiting reagent. Sodium nitrate and water are the other products. Since sodium nitrate and water are condensed phases of matter the volumes of the sodium nitrate and water are minimal and do not effect your results.

| SAFETY REMINDERS Wear protective gear. Follow directions for using the equipment. Handle and dispose of all chemicals and solutions properly. |  |  |  |
| --- | --- | --- | --- |

## For You To Do

Use the sensors to measure the changes in pressure and temperature inside a container during a chemical reaction. Use DataStudio or ScienceWorkshop to record and display the data. Use your data and the Ideal Gas Law to calculate the number of moles of gas produced during the reaction and compare your results to the accepted value.

## PART I: Computer Setup

1.	Connect the ScienceWorkshop interface to the computer, turn on the interface, and turn on the computer.

2.	Connect the DIN plug of the Temperature Sensor to Analog Channel A on the interface. Connect the DIN plug of the Pressure Sensor to Analog Channel B on the interface.

3.	Open the file titled as shown;

| DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- |
| C11 Determine n.DS | C11 Determine n | C11_N.SWS |

•	The DataStudio file has a Graph display. Read the Workbook display for more information.

•	The ScienceWorkshop document has a Graph display with a plot of the pressure versus time and a plot of temperature versus time.

•	Data recording is set at ten measurements per second (10 Hz).

## PART II: Sensor Calibration and Equipment Setup

### You do not need to calibrate the sensors.

### Set Up the Equipment

•	For this part you will need the following: glycerin, quick-release coupling, connector, plastic tubing, two-hole rubber stopper, Temperature Sensor, Pressure Sensor.

1.	Put a drop of glycerin on the barb end of a quick release coupling. Put the end of the quick release coupling into one end of a piece of plastic tubing (about 15 cm) that comes with the Pressure Sensor.

2.	Put a drop of glycerin on the barb end of the connector. Push the barb end of the connector into the other end of the plastic tubing.

3.	Fit the end of the connector into one of the holes in the rubber stopper.

4.	Put a drop of glycerin into the other hole of the stopper and slide the Temperature Sensor through the hole.

5.	Align the quick-release coupling on the end of the plastic tubing with the pressure port of the Pressure Sensor. Push the coupling onto the port, and then turn the coupling clockwise until it clicks (about one-eighth turn).

•	Pressure Sensor and Temperature Sensor with two-hole rubber stopper.

### Prepare the Chemicals

•	For this part you will need the following: balance, sodium bicarbonate, graduated cylinder, nitric acid, test tube, bottle.

1.	Put 4 grams of sodium bicarbonate in the 2-liter bottle.

2.	Put 10 mL of 6 molar nitric acid in the test tube. CAREFULLY slip the test tube into the bottle with the sodium bicarbonate. Don’t let the acid spill out of the tube yet.

•	When you are ready to record data, you will place the two-hole rubber stopper with sensors into the top of the bottle, and then add the acid to the sodium bicarbonate by tilting the bottle and spilling the acid out of the test tube.

## PART III: Data Recording

### Measure the Pressure and Temperature

1.	When you are ready, start recording data. (Hint: Click ‘Start’ in DataStudio or click ‘REC’ in ScienceWorkshop.)

2.	CAREFULLY force the rubber stopper with sensors attached into the top of the bottle.

3.	Tilt the bottle so the contents of the test tube spill out. Swirl the nitric acid/sodium bicarbonate mixture in the bottle.

•	CAUTION! The pressure inside the bottle may become high enough to blow the rubber stopper out of the bottle. Try to hold the stopper in place, but don’t put your hands on the bottle (because your hands might warm it too much).

4.	When the bubbling stops (or the rubber stopper blows off), stop recording data.

5.	If the rubber stopper is still in place, slowly open the flask to allow carbon dioxide to escape.

6.	Slowly remove the stopper from the bottle to allow carbon dioxide to escape.

7.	Dispose of the mixture by pouring the solution down the drain with a large volume of water following. Rinse the bottle and test tube.

8.	Use the graduated cylinder to add water to the bottle to determine the actual volume of the bottle. Record the volume in the Lab Report section. (Hint: Remember to account for the space occupied by the bottom of the rubber stopper when it was in the bottle. Should you also account for the space taken up by the test tube? Disregard the volume of the nitric acid from the total volume.)

## Analyzing the Data

1.	Use the built-in statistics in the Graph display to find the minimum pressure and the maximum pressure. (Hint: Click the ‘Statistics menu’ button () in DataStudio or the ‘Statistics button () in ScienceWorkshop.) Record the minimum and maximum pressure in the Lab Report section.

2.	Use the statistics in the Graph display to find the maximum temperature. Record the value in the Lab Report section.

3.	Use your data and the Gas Constant, R, to calculate the pressure change in atmospheres, the maximum temperature of the gas in Kelvin, the volume of gas in liters, and n, the moles of carbon dioxide gas produced.

4.	Calculate the moles of sodium bicarbonate. Compare your experimental value of moles of carbon dioxide gas to the moles of sodium bicarbonate.

## Record your results in the Lab Report section.

# Lab Report - Activity C11: Determine n for a Chemical Reaction

## What Do You Think?

The Ideal Gas Law (PV = nRT) relates the pressure, volume and temperature of a gas to the number of moles of gas. Can you use measurements of pressure, volume, and temperature for a gas produced during a chemical reaction to determine the number of moles of gas?

## Data Table

| Data | Measurement | Value |
| --- | --- | --- |
| 1 | Minimum pressure | kPa |
| 2 | Maximum pressure | kPa |
| 3 | Change in pressure (Data 2 - Data 1) | kPa |
| 4 | Change in pressure in atmospheres (Data 3 x 1 atm/101 kPa) | atm |
| 5 | Maximum temperature | ˚C |
| 6 | Maximum temperature in K (Data 5 + 273) | K |
| 7 | Volume of gas in mL | mL |
| 8 | Volume of gas in L (Data 7 x 1 Liter/1000 mL) | L |
| 9 | Gas Constant, R | 0.082 atm L/mole K |
| 10 | Moles of carbon dioxide formed () | moles |
| 11 | Mass of sodium bicarbonate used | g |
| 12 | Moles of sodium bicarbonate used (Data 11 x 1 mole/84 g) | moles |
| 13 | Moles of carbon dioxide formed (same as Data 12) | moles |
| 14 | % difference (See below) | % |

Remember, percent difference is

## Questions

1.	How does your calculated value for n compare to the accepted value?

2.	What are possible sources of error or limitations in this experiment? For each one, try to decide what effect it might have on the experimental results.