# Activity C16: A Pseudo First Order Reaction
(Colorimeter)

| Concept | DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- | --- |
| Rate of reactions | C16 Pseudo 1.DS | C17 Pseudo 1 | C17_PSE1.SWS |

| Equipment Needed | Qty | Chemicals and Consumables | Qty |
| --- | --- | --- | --- |
| Colorimeter (CI-6747) | 1 | Ethanol | 20 mL |
| Cuvette (w/sensor) | 1 | Hydrochloric acid, 1 molar | 20 mL |
| Pipette, 1 mL | 4 | Potassium permanganate, 0.02 molar | 20 mL |
| Protective gear | PS | Water, distilled | 20 mL |

## What Do You Think?

How will changing the concentrations of the reactants affect the rate of a chemical reaction?

Take time to answer the ‘What Do You Think?’ question(s) in the Lab Report section.

## Background

The rate of a chemical reaction depends on the temperature, pressure and other physical characteristics of the reaction surroundings. The first consideration a chemist gives to a chemical reaction however, is the concentration of the reactants. High concentrations of chemical reactants insure that molecules have the greatest opportunity to for successful collisions.

Chemists often change the concentration of reactants so that they can study the effect the change has on the rate of the reaction. For example, consider the reaction of permanganate ion (MnO4-), in an acidic solution with ethyl alcohol (C2H6O) to form the acetate ion (C2H3O2-). The balanced equation for this reaction is given below.

5 C2H6O   +  4 MnO4-  +  7 H+ ==> 5 C2H3O2-   +  4 Mn2+   +  11 H2O

Five moles of ethyl alcohol are needed to react with four moles of permanganate ion to form five moles of acetate ion and four moles of the manganous (Mn2+) ion. If the concentration of ethyl alcohol and acid are raised to a high level relative to the permanganate concentration, the kinetics of the appearance of the Mn2+ ion can be studied. In a similar manner, if the concentration of the hydrogen ion is raised above the stoichiometric requirement of the reaction, then the interaction of the other two reactants can be studied. Each participant in the reaction can be studied in turn using this technique. The method is a pseudo first order reaction because the kinetics of the single reactant can be studied as if the concentration were first order while the other reactants are held almost constant because their concentration is so large relative to the species being studied.

Remember that the Colorimeter measures the change in absorbance due to the manganous ion in the reaction solution.

| SAFETY REMINDERS Wear protective gear. Follow directions for using the equipment. Handle and dispose of all chemicals and solutions properly. |  |  |  |
| --- | --- | --- | --- |

CAUTION: Never pipette by mouth. Always use a pipette bulb or a pipette pump. Be careful when handling any acid or base solutions.

## For You To Do

Use the Colorimeter to measure the change in absorbance of light by a solution of ethanol, hydrochloric acid and potassium permangante as the three components react. Begin with a mixture with specific concentrations of the three components, and then test mixtures with different concentrations of one component or the other. Use DataStudio or ScienceWorkshop to record and display the data. Use the data to determine the overall order of the rate of reaction.

## PART I: Computer Setup

1.	Connect the ScienceWorkshop interface to the computer, turn on the interface, and turn on the computer.

•	The sensor’s connector cable has a mini-DIN plug at one end and a regular DIN plug at the other.

2.	Plug the mini-DIN end of the cable into the sensor and then connect the other end of the cable into Analog Channel A on the interface.

•	The Colorimeter will automatically turn itself on when it is connected to the ScienceWorkshop interface.

3.	Open the file titled as shown;

| DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- |
| C16 Pseudo 1.DS | C17 Pseudo 1 | C17_PSE1.SWS |

•	The DataStudio file has a Graph display. Read the Workbook display for more information.

•	The ScienceWorkshop document has a Graph display with absorbance of light versus time.

•	Data recording is set at two measurements per second (2 Hz).

## PART II: Sensor Calibration and Equipment Setup

### About the Colorimeter

The Colorimeter analyzes colors of light that pass through a solution. The solution is put into a rectangular container called a cuvette, which is then placed inside the Colorimeter. The measure of the amount of light that passes through a solution is called “transmittance”. Transmittance is a ratio of the intensity of the transmitted light to the intensity of the original light, and is usually expressed as a percentage.

Absorbance is related to transmittance. The light absorbed by a solution depends on the absorbing ability of the solution, the distance traveled by the light through the solution, and the concentration of the solution. The relationship of absorbance to transmittance is:

### Calibration

The general method for calibrating the Colorimeter is as follows:

•	First, calibrate the Colorimeter with a clear cuvette containing distilled water.

•	Second, calibrate the software (either DataStudio or ScienceWorkshop) for one of the four colors of light that can be selected in the Colorimeter. (For this activity you will use the RED wavelength.)

Note: The cuvette has two clear sides and two ridged sides.

•	All cuvettes should be wiped clean and dry on the outside with a tissue.

•	Handle cuvettes only by the top edge of the ridged sides.

•	All solutions should be free of bubbles.

•	Always position the cuvette so the light beam will pass through the clear sides.

### Calibrate the Colorimeter

When the Colorimeter comes on, the liquid crystal display (LCD) should say “Please calibrate”.

To calibrate the Colorimeter with a clear cuvette, fill a clean cuvette with distilled water and cap the cuvette. (The clear cuvette is a control or ‘reference’ that accounts for the small amount of light scattered or reflected by the walls of the cuvette.)

On the Colorimeter, press the ‘Select’ button () and the ‘Start/Stop’ button () at the same time.

The Colorimeter’s LCD will say “Insert reference then push SELECT”.

Place the closed cuvette inside the Colorimeter. Make sure that the clear sides of the cuvette (without ridges) are lined up with the light path in the Colorimeter. Close the lid on the Colorimeter.

On the Colorimeter, press the ‘Select’ button.

The Colorimeter will automatically calibrate itself for all four wavelengths assuming that the light passing through the clear cuvette represents “100% Transmittance”. (The automatic calibration takes only a few seconds.)

The Colorimeter’s LCD will say “CAL done, push SELECT or START”.

### Calibrate the Software

Follow these steps to calibrate the software for one of the four colors of light:

1.	Leave the cuvette with distilled water inside the Colorimeter.

2.	In the Experiment Setup window, double-click the Colorimeter icon.

•	In DataStudio, the Sensor Properties window will open. Click the ‘Calibration’ tab. In ScienceWorkshop, the Sensor Setup window will open.

3.	Select the color of light.

•	NOTE: The default color is RED, so you do not need to change the selection for this activity.

4.	Calibrate the software.

•	First, press the ‘Start/Stop’ button () to start the Colorimeter. (The LCD shows the color and wavelength, the percent transmittance, and “RUN”.)

•	Second, check the voltage under ‘Current Reading’ in DataStudio or next to ‘Cur Value:’ in ScienceWorkshop.

•	Third, when the voltage stabilizes, click the ‘Take Reading’ button under ‘High Point’ in DataStudio or the ‘Read’ button in the row for ‘High Value:’ in ScienceWorkshop.

•	Fourth, press the ‘Start/Stop’ button to stop the Colorimeter. (The LCD changes to “STOP”.)

5.	Click ‘OK’ to return to the Experiment Setup window.

•	The software is now calibrated for the Colorimeter.

### Equipment Setup

When the reactants are mixed, the solution gradually becomes darker. In other words, the solution absorbs more and more light (absorbance goes up).

You will test how each of the three substances (hydrochloric acid (1 Molar), ethyl alcohol, and potassium permanganate (0.02 Molar)) effect the rate of reaction. You will vary the concentration of one reactant at a time by diluting it with distilled water.

Use the following protocol in each test:

1.	Add the specified amount of distilled water to the cuvette.

2.	Add the specified amount of 2-butanol to the cuvette.

3.	Add the specified amount of sulfuric acid to the cuvette.

4.	Add the specified amount of potassium permanganate to the cuvette LAST and quickly cap the cuvette.

5.	Quickly invert the cuvette to mix the components.

6.	Quickly put the cuvette into the Colorimeter.

7.	Start the Colorimeter, record data, then stop the Colorimeter

8.	Remove the cuvette, discard the solution, and rinse the cuvette thoroughly.

## PART IIIA: Data Recording - Vary the Concentration of Permanganate Ion

You will test three solutions made up of different amounts of the reactants as follows:

### Table IIIA: Vary the Concentration of Permanganate Ion

| Trial # | Water | Ethanol | Hydrochloric acid,1 M | Potassium permanganate, 0.02 M |
| --- | --- | --- | --- | --- |
| 1 | 0.8 mL | 0.8 mL | 0.8 mL | 0.8 mL |
| 2 | 1.2 mL | 0.8 mL | 0.8 mL | 0.4 mL |
| 3 | 1.4 mL | 0.8 mL | 0.8 mL | 0.2 mL |

1.	When you are ready to begin data recording, place distilled water, ethanol, and hydrochloric acid in the cuvette in the amounts specified.

2.	Add the specified amount of potassium permanganate LAST. Quickly cap the cuvette, mix, and put the cuvette into the Colorimeter. Close the Colorimeter lid.

3.	Press the ‘Start/Stop’ button () to start the Colorimeter.

4.	Start recording data. (Hint: Click ‘Start’ in DataStudio or click ‘REC’ in ScienceWorkshop.)

5.	Record data for about 120 seconds and then stop recording data.

6.	Press the ‘Start/Stop’ button () to stop the Colorimeter. Empty and rinse the cuvette with distilled water.

7.	Repeat the procedure for trials 2 and 3 using the amounts of reactants shown above. Remember to add the KMnO4 last.

•	You will have three runs of data at the end of the data recording for Part IIIA.

## PART IIIB: Data Recording - Vary the Concentration of Ethyl Alcohol

You will test three solutions made up of different amounts of the reactants as follows:

### Table IIIB: Vary the Concentration of Ethanol

| Trial # | Water | Ethanol | Hydrochloric acid, 1 M | Potassium permanganate, 0.02 M |
| --- | --- | --- | --- | --- |
| 4 | 0.8 mL | 0.8 mL | 0.8 mL | 0.8 mL |
| 5 | 1.2 mL | 0.4 mL | 0.8 mL | 0.8 mL |
| 6 | 1.4 mL | 0.2 mL | 0.8 mL | 0.8 mL |

1.	When you are ready to begin data recording, place distilled water, ethanol, and hydrochloric acid in the cuvette in the amounts specified.

2.	Add the specified amount of potassium permanganate LAST. Quickly cap the cuvette, mix, and put the cuvette into the Colorimeter. Close the Colorimeter lid.

3.	Press the ‘Start/Stop’ button () to start the Colorimeter.

4.	Start recording data. (Hint: Click ‘Start’ in DataStudio or click ‘REC’ in ScienceWorkshop.)

5.	Record data for about 120 seconds and then stop recording data.

6.	Press the ‘Start/Stop’ button () to stop the Colorimeter. Empty and rinse the cuvette with distilled water.

7.	Repeat the procedure for trials 5 and 6 using the amounts of reactants shown above. Remember to add the KMnO4 last.

•	You will have three more runs of data at the end of the data recording for Part IIIB.

## PART IIIC: Data Recording - Vary the Concentration of Hydrochloric Acid

You will test three solutions made up of different amounts of the reactants as follows:

### Table IIIC: Vary the Concentration of Hydrochloric Acid

| Trial # | Water | Ethanol | Hydrochloric acid, 1 M | Potassium permanganate, 0.02 M |
| --- | --- | --- | --- | --- |
| 4 | 0.8 mL | 0.8 mL | 0.8 mL | 0.8 mL |
| 5 | 1.2 mL | 0.8 mL | 0.4 mL | 0.8 mL |
| 6 | 1.4 mL | 0.8 mL | 0.2 mL | 0.8 mL |

1.	When you are ready to begin data recording, place distilled water, ethanol, and hydrochloric acid in the cuvette in the amounts specified.

2.	Add the specified amount of potassium permanganate LAST. Quickly cap the cuvette, mix, and put the cuvette into the Colorimeter. Close the Colorimeter lid.

3.	Press the ‘Start/Stop’ button () to start the Colorimeter.

4.	Start recording data. (Hint: Click ‘Start’ in DataStudio or click ‘REC’ in ScienceWorkshop.)

5.	Record data for about 135 seconds and then stop recording data.

6.	Press the ‘Start/Stop’ button () to stop the Colorimeter. Empty and rinse the cuvette with distilled water.

7.	Repeat the procedure for trials 5 and 6 using the amounts of reactants shown above. Remember to add the KMnO4 last.

•	You will have three more runs of data at the end of the data recording for Part IIIB.

## Analyzing the Data in DataStudio

Use the analysis tools in the Graph display to determine the rate of reaction for each solution. A procedure for doing this is as follows:

1.	Select the run to analyze.

2.	Click the ‘Slope Tool’ button ().

•	The ‘Slope Tool’ shows the slope of a line tangent to any point on the plot of data.

3.	Use the cursor to move the tool to a point near the beginning the plot where the absorbance is changing.

4.	Record the value of the slope (‘m’) as the rate of the reaction.

Repeat the process for each run of data.

## Analyzing the Data in ScienceWorkshop

Use the analysis tools in the Graph display to determine the rate of reaction for each solution. A procedure for doing this is as follows:

1.	Select the run to analyze.

2.	Click the ‘Statistics’ button () to open the statistics area. Rescale the display to fit the data.

3.	Use the cursor to select a region near the beginning the plot where the absorbance is changing.

4.	Click the ‘Statistics menu’ button () and select ‘Curve Fit, Linear Fit’ from the menu.

5.	Record the value of a2 as the rate of reaction.

Repeat the process for each run of data.

## Record your results in the Lab Report section.

# Lab Report - Activity C16: A Pseudo First Order Reaction

## What Do You Think?

How will changing the concentrations of the reactants affect the rate of a chemical reaction?

## Data Table

| Trial # | Variable | Amount (mL) | Rate (slope) |
| --- | --- | --- | --- |
| 1 | Potassium permanganate (KmnO4) | 0.8 |  |
| 2 | Potassium permanganate (KmnO4) | 0.4 |  |
| 3 | Potassium permanganate (KmnO4) | 0.2 |  |
| 4 | Ethanol | 0.8 |  |
| 5 | Ethanol | 0.4 |  |
| 6 | Ethanol | 0.2 |  |
| 7 | Hydrochloric acid (HCl) | 0.8 |  |
| 8 | Hydrochloric acid (HCl) | 0.4 |  |
| 9 | Hydrochloric acid (HCl) | 0.2 |  |

## Questions

1.	What is the effect of varying the concentration of each of the reactants?

2.	Which of the reactants effected the rate of reaction the most?

3.	Using the information in the Data Table determine the order of each reactant and then determine the overall rate of the reaction.

# Text boxes

Clear sides aligned with light path.