# Activity C30: pH versus Time for Antacid
(pH Sensor)

| Concept | DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- | --- |
| Acids, bases & salts | C30 pH versus Time.DS | C30 Antacid | C30_ANTA.SWS |

| Equipment Needed | Qty | Chemicals and Consumables | Qty |
| --- | --- | --- | --- |
| pH Sensor (CI-6507A) | 1 | Antacid tablet | 4 |
| Base and support rod (ME-9355) | 1 | Buffer solution: high pH | 100 mL |
| Beaker, 250 mL | 4 | Buffer solution: low pH | 100 mL |
| Clamp, buret (SE-9446) | 1 | Hydrochloric acid, 0.10 molar | 100 mL |
| Graduated cylinder | 1 | Paper, waxed, 10 by 10 cm | 2 |
| Magnetic stirrer and stir bar | 1 | Water, distilled | 500 mL |
| Mallet | 1 |  |
| Wash bottle | 1 |  |
| Protective gear | PS |  |

## What Do You Think?

How does the ability of a solid antacid tablet to neutralize excess acid compare to the ability of a crushed antacid tablet to neutralize excess acid?

Take time to answer the ‘What Do You Think?’ question(s) in the Lab Report section.

## Background

The main components of the digestive fluid in the human stomach are pepsinogen (an inactive form of the enzyme pepsin) and hydrochloric acid (HCl). The acid promotes the conversion of pepsinogen into its active form and provides the necessary pH in which the enzyme pepsin can break down protein molecules. When excessive digestive fluid (gastric juice) is secreted it may contribute to the formation of an ulcer in the stomach lining. One of the most common remedies for excessive digestive fluid (stomach acidity) is antacid tablets. These tablets neutralize excess acid in the digestive fluid. The acid-base neutralization between the antacid and the HCl in the digestive fluid is as follows:

Antacid (weak base) + HCl (stomach acid) --> H2O + CO2 + salts

Antacid tablets contain a buffer to moderate the change in pH. They also contain other ingredients such as flavoring agents and substances that make the tablet hold together.

The first part of the procedure uses a solid antacid tablet. The second part uses a crushed antacid tablet.

| SAFETY REMINDERS Wear protective gear. Follow directions for using the equipment. Handle and dispose of all chemicals and solutions properly. |  |  |  |
| --- | --- | --- | --- |

## For You To Do

Use the pH Sensor to measure the change in pH of a dilute hydrochloric acid solution when you add antacid tablets to the solution. Measure the change for solid tablets and then measure the change for crushed tablets. Use DataStudio or ScienceWorkshop to record and display the data. Use your data to compare the rate at which the solid and crushed tablets neutralize the solution.

## PART I: Computer Setup

1.	Connect the ScienceWorkshop interface to the computer, turn on the interface, and turn on the computer.

2.	Connect the DIN plug of the pH Sensor to Analog Channel A on the interface.

3.	Open the file titled as shown;

| DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- |
| C30 pH versus Time.DS | C30 Antacid Law | C30_ANTA.SWS |

•	The DataStudio file has a Graph display. Read the Workbook display for more information.

•	The ScienceWorkshop document has a Graph display of the pH versus time.

•	Data recording is set at one measurement per second (1 Hz). Data recording will stop automatically at 600 seconds.

## PART II: Sensor Calibration and Equipment Setup

### Calibrate the Sensor

•	To calibrate the pH Sensor you will need the following: wash bottle, distilled water, three beakers, buffer solutions of high pH (e.g. pH 10) and low pH (e.g. pH 4), pH Sensor.

•	Put distilled water into the wash bottle and into one of the beakers. Put about 100 mL of the high pH buffer solution in one of the other two beakers and about 100 mL of the low pH buffer solution into the third beaker.

1.	Remove the pH electrode from its bottle of buffer solution. Connect the electrode to the pH Sensor amplifier. To connect the electrode, push the BNC plug onto the receptacle on the Sensor amplifier and turn the BNC plug clockwise until it ‘clicks’ into place.

2.	Use the wash bottle to rinse the end of the electrode. Soak the pH electrode in the beaker of distilled water for 10 minutes.

3.	In the Experiment Setup window, double-click the pH Sensor icon.

•	In DataStudio, the Sensor Properties window will open. Click the ‘Calibration’ tab. In ScienceWorkshop, the Sensor Setup window will open.

4.	Calibrate with the high pH buffer solution.

- Put the end of the pH electrode into the high pH buffer solution.

- Check the voltage under ‘Current Reading’ in DataStudio or next to ‘Cur Value:’ in ScienceWorkshop.

- When the voltage stabilizes, click the ‘Take Reading’ button under ‘High Point’ in DataStudio or the ‘Read’ button in the row for ‘High Value:’ in ScienceWorkshop.

- Enter the pH value of the buffer solution.

5.	Thoroughly rinse the pH electrode with distilled water and dry it with a tissue.

6.	Calibrate with the low pH buffer solution.

- Put the end of the pH electrode in the low pH buffer solution.

- Check the voltage under ‘Current Reading’ in DataStudio or next to ‘Cur Value:’ in ScienceWorkshop.

- When the voltage stabilizes, click the ‘Take Reading’ button under ‘Low Point’ in DataStudio or the ‘Read’ button in the row for ‘Low Value:’ in ScienceWorkshop.

- Enter the pH value of the buffer solution. Click OK to return to the Experiment Setup window.

7.	Thoroughly rinse the pH electrode with distilled water and dry gently.

### Equipment Setup – Whole Antacid Tablets

•	For this part you will need the following: two antacid tablets, acid solution, pH Sensor, clamp, base and support rod, beaker, magnetic stirrer and stir bar, each brand of antacid used you will need two beakers of acid solution and two antacid tablets.

1.	Put 50 mL of 0.10 Molar hydrochloric acid (HCl) into a clean dry beaker.

2.	Carefully put a spin bar in the beaker. Place the beaker and spin bar on the magnetic stirrer.

3.	Use a clamp and base and support rod to position the pH electrode so the end of the electrode is in the acid solution, but will not interfere with the spin bar.

4.	Turn on the magnetic stirrer. (Note: If a magnetic stirrer is not available, carefully stir the solution with a stirring rod.)

## PART IIIA: Data Recording – Whole Antacid Tablet

1.	When you are ready, start recording data. (Hint: Click ‘Start’ in DataStudio or click ‘REC’ in ScienceWorkshop.)

2.	Drop two whole antacid tablets into the solution.

•	Data recording will stop automatically after 600 seconds.

3.	When data recording stops, turn off the magnetic stirrer. Remove the pH Sensor from the solution.

4.	Rinse the pH Sensor in distilled water and dry the sensor gently.

5.	Carefully empty the beaker as instructed. Remove the stir bar.

6.	Rinse and dry the beaker.

### Equipment Setup – Crushed Antacid Tablet

•	For this part you will need the following: two antacid tablets, waxed paper, mallet, acid solution, equipment setup from the first part of data recording.

1.	Crush two tablets of the same kind of antacid that you used in Part IIIA. (Fold the wax paper over the tablet and use a mallet or hammer to crush the tablet. Be careful not to damage the table or lose any of the tablets.)

2.	Carefully return the spin bar to the beaker.

3.	Put 50 mL of 0.10 Molar hydrochloric acid into the beaker and place the beaker with the spin bar on the magnetic stirrer.

4.	Use a clamp and base and support rod to position the pH electrode so the end of the electrode is in the acid solution, but will not interfere with the spin bar.

5.	Turn on the magnetic stirrer.

## PART IIIB: Data Recording – Crushed Antacid Tablet

1.	When you are ready, start recording data.

2.	Drop the crushed antacid tablets into the solution.

•	Data recording will stop automatically after 600 seconds.

3.	When data recording stops, turn off the magnetic stirrer. Remove the pH sensor from the solution.

4.	Rinse the pH sensor in distilled water and dry the sensor gently.

5.	Carefully empty the beaker as instructed. Remove the stir bar.

6.	Rinse and dry the beaker.

## Analyzing the Data

1.	Use the Graph display analysis tools to find the rate of change of pH (change of pH per unit of time) for the whole antacid tablets versus the crushed antacid tablets.

•	Hint: One possibility is to use the ‘Smart Tool’ in DataStudio or the ‘Smart Cursor’ in ScienceWorkshop. Put the cursor on a point at the beginning of the plot and then use the ‘delta’ function of the ‘Smart Tool’ or ‘Smart Cursor’ as you move the cursor to another point on the plot. The change in ‘x’ is the amount of time and the change in ‘y’ is the change in pH.

2.	Convert the time from seconds to minutes and then calculate the change in pH per minute by dividing the change in pH by the time.

3.	Repeat the data analysis procedure for the crushed tablets.

4.	Record your data for the whole tablets and the crushed tablets in the Lab Report section.

## Optional

•	If you have more than one brand of antacid, repeat the data recording and data analysis procedure for the other whole and crushed antacid tablets you have.

## Record your results in the Lab Report section.

# Lab Report - Activity C30: pH versus Time for Antacid

## What Do You Think?

How does the ability of a solid antacid tablet to neutralize excess acid compare to the ability of a crushed antacid tablet to neutralize excess acid?

## Data Table

| Antacid | Whole or Crushed | ∆pH | ∆T (min) | ∆pH/min |
| --- | --- | --- | --- | --- |
| Sample 1 |  |  |  |  |
| Sample 1 |  |  |  |  |
| Sample 2 |  |  |  |  |
| Sample 2 |  |  |  |  |

## Questions

1.	Does the rate of change of pH depend on whether the tablet is crushed or whole?

2.	Does the overall change of pH depend on whether the table is crushed or whole?

## Optional

1.	Which type of antacid has the highest neutralization strength? Which type of antacid has the lowest strength?

# Text boxes

Connect to the sensor.

Remove the bottle of buffer solution.