# Activity C31: Neutralization of Vinegar with Drain Cleaner 
(pH Sensor)

| Concept | DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- | --- |
| Acids, bases & salts | C31 Neutralize Vinegar.DS | C31 Vinegar | C31_VINESWS |

| Equipment Needed | Qty | Equipment Needed | Qty |
| --- | --- | --- | --- |
| pH Sensor (CI-6507A) | 1 | Wash bottle | 1 |
| Balance (SE-8723) | 1 | Protective gear | PS |
| Base and support rod (ME-9355) | 1 |  |  |
| Beaker, 250 mL | 5 | Chemicals and Consumables | Qty |
| Buret, 50 mL | 1 | Buffer solution: high pH | 100 mL |
| Clamp, buret (SE-9446) | 2 | Buffer solution: low pH | 100 mL |
| Funnel | 1 | Drain cleaner (w/o aluminum) | 3.3 g |
| Graduated cylinder | 1 | Vinegar (5% acetic acid) | 100 mL |
| Magnetic stirrer and stir bar | 1 | Water, distilled | 500 mL |

## What Do You Think?

The first purpose of this activity is to determine the Ka (acid dissociation constant) of vinegar (mild acetic acid). The second purpose of the activity is to determine the pH of the equivalence point of the reaction between acetic acid and the base used to neutralize the acid. Will the pH of the equivalence point be acidic, basic, or neutral?

Take time to answer the ‘What Do You Think?’ question(s) in the Lab Report section.

## Background

Vinegar is a solution of acetic acid in water at a concentration of about 5% or 0.83 Molar. Granulated drain cleaner is a solid consisting mostly of lye (sodium hydroxide). Vinegar is an acid and drain cleaner is a base. An acid reacts with a base to form a salt and water in a reaction called neutralization.

All acids ionize in water to form hydronium ions (H3O+) and an anion. The generalized equation for this ionization is as shown where Q represents the anion:

HQ  +  H2O  =====>  H3O+  +  Q-

For strong acids such as hydrochloric acid (HCl), nitric (HNO3), and sulfuric acid (H2SO4), ionization is complete. No acid remains in the molecular form.

HCl  +  H2O  =====>  H3O+  +  Cl-

For weak acids however, the ionization reaction reaches equilibrium. When a weak acid ionizes it reaches a point where the ions recombine to form a molecule of acid at the same rate that acid molecules ionize.

HX  +  H2O  <=====>  H3O+  +  X-

Acetic acid is a weak acid. When it dissolves it ionizes to form hydronium ions and acetate ions. However, at a particular concentration the ions recombine to form acetic acid at the same rate that the molecules of acid ionize.

HC2H3O2  +  H2O  <=====>  H3O+  +  C2H3O2 -

When the rate of the forward and reverse reactions are equal, the acid has reached an equilibrium between ionized and unionized molecules. This equilibrium point has a special name. It is called the Ka of the acid. Mathematically, the Ka of an acid is:

and for acetic acid:

When sodium hydroxide reacts with acetic acid, sodium acetate (a salt) and water are formed.

NaOH  +   HC2H3O2  ========>   NaC2H3O2   +  H2O

The degree to which the salt breaks down is the solubility product dissociation constant or Ksp. The Ksp is the negative antilog of the pH at the equivalence point of the neutralization. The pH at the equivalence point is also the pH of the salt, sodium acetate.

| SAFETY REMINDERS Wear protective gear. Follow directions for using the equipment. Handle and dispose of all chemicals and solutions properly. |  |  |  |
| --- | --- | --- | --- |

## For You To Do

Use the pH Sensor to measure the change in pH of a dilute acetic acid solution when you add a small quantity of drain cleaner solution to it at a constant rate. Use DataStudio or ScienceWorkshop to record and display the data. Use your data to determine the acid dissociation constant (Ka) and the pH of the equivalence point. Determine whether the equivalence point is acidic, basic, or neutral.

## PART I: Computer Setup

1.	Connect the ScienceWorkshop interface to the computer, turn on the interface, and turn on the computer.

2.	Connect the DIN plug of the pH Sensor to Analog Channel A on the interface.

3.	Open the file titled as shown;

| DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- |
| C31 Neutralize Vinegar.DS | C31 Vinegar | C31_VINESWS |

•	The DataStudio file has a Graph display. Read the Workbook display for more information.

•	The ScienceWorkshop document has a Graph display of the pH versus time.

•	Data recording is set at ten measurements per second (10 Hz).

## PART II: Sensor Calibration and Equipment Setup

### Calibrate the Sensor

•	To calibrate the pH Sensor you will need the following: wash bottle, distilled water, three beakers, buffer solutions of high pH (e.g. pH 10) and low pH (e.g. pH 4), pH Sensor.

•	Put distilled water into the wash bottle and into one of the beakers. Put about 100 mL of the high pH buffer solution in one of the other two beakers and about 100 mL of the low pH buffer solution into the third beaker.

1.	Remove the pH electrode from its bottle of buffer solution. Connect the electrode to the pH Sensor amplifier. To connect the electrode, push the BNC plug onto the receptacle on the Sensor amplifier and turn the BNC plug clockwise until it ‘clicks’ into place.

2.	Use the wash bottle to rinse the end of the electrode. Soak the pH electrode in the beaker of distilled water for 10 minutes.

3.	In the Experiment Setup window, double-click the pH Sensor icon.

•	In DataStudio, the Sensor Properties window will open. Click the ‘Calibration’ tab. In ScienceWorkshop, the Sensor Setup window will open.

4.	Calibrate with the high pH buffer solution.

- Put the end of the pH electrode into the high pH buffer solution.

- Check the voltage under ‘Current Reading’ in DataStudio or next to ‘Cur Value:’ in ScienceWorkshop.

- When the voltage stabilizes, click the ‘Take Reading’ button under ‘High Point’ in DataStudio or the ‘Read’ button in the row for ‘High Value:’ in ScienceWorkshop.

- Enter the pH value of the buffer solution.

5.	Thoroughly rinse the pH electrode with distilled water and dry it with a tissue.

6.	Calibrate with the low pH buffer solution.

- Put the end of the pH electrode in the low pH buffer solution.

•	Check the voltage under ‘Current Reading’ in DataStudio or next to ‘Cur Value:’ in ScienceWorkshop.

•	When the voltage stabilizes, click the ‘Take Reading’ button under ‘Low Point’ in DataStudio or the ‘Read’ button in the row for ‘Low Value:’ in ScienceWorkshop.

•	Enter the pH value of the buffer solution. Click OK to return to the Experiment Setup window.

7.	Thoroughly rinse the pH electrode with distilled water and dry gently.

### Equipment Setup

•	For this part you will need the following: balance, drain cleaner, water, two beakers, 50-mL buret, pH Sensor, two clamps, base and support rod, magnetic stirrer and stir bar, vinegar.

1.	Dissolve 3.3 grams of drain cleaner in 100 mL of distilled water.

2.	Place 100 mL of vinegar in a 250-mL beaker. Put a spin bar in the beaker.

3.	Place the beaker with vinegar and spin bar on the magnetic stirrer.

4.	Use a clamp and base and support rod to position the pH electrode so the end of the electrode is in the vinegar, but will not interfere with the spin bar.

5.	Use another clamp to support the 50-mL buret so the end of the buret is above the vinegar. (Be sure the buret valve is closed!)

6.	Put 50 mL of the drain cleaner solution into the buret. (Keep the other 50 mL of solution in its beaker.)

7.	Turn on the magnetic stirrer. (Note: If a magnetic stirrer is not available, carefully stir the vinegar with a stirring rod.)

## PART III: Data Recording

•	Have the following items ready: funnel, beaker with 50 mL of drain cleaner solution.

1.	When you are ready, start recording data. (Hint: In DataStudio, click ‘Start’. In ScienceWorkshop, click ‘REC’.)

2.	Open the buret valve so the drain cleaner solution pours into the vinegar at a slow, constant rate.

•	Adjust the buret valve so the solution flows at a rate of about 3 mL per second.

•	Before the buret is completely empty, put the funnel in the top of the buret and pour in the remaining 50 mL of drain cleaner solution.

3.	When all of the drain cleaner solution is added to the vinegar, stop recording data.

4.	Turn off the magnetic stirrer.

5.	Carefully remove the pH electrode, rinse it thoroughly in distilled water, and put it in its bottle of buffer solution.

6.	Carefully remove the buret and rinse it several times to remove all remnants of the drain cleaner solution.

7.	Dispose of the solution in the beaker as instructed.

## Analyzing the Data

Use the software data analysis tools to determine the following:

- Initial and final pH.

- Acid dissociation constant: The acid dissociation constant (Ka) is the negative antilog of pKa, The value of pKa is the pH at the midpoint of the gradual increase during the first part of the plot of data.

- Equivalence point: The equivalence point is the pH value at the midpoint of the almost vertical part of the plot of data.

1.	Use the built-in statistics in the Graph display to find the initial and final pH. (Hint: In DataStudio, click the ‘Statistics’ button (). The minimum and maximum values appear in the Graph legend. In ScienceWorkshop, click the ‘Statistics’ button () to open the statistics area. Click the ‘Statistics menu’ button () and select ‘Minimum’ and ‘Maximum’.)

2.	Find the value of pKa. Use the ‘Smart Tool’ () in DataStudio or the ‘Smart Cursor’ () in ScienceWorkshop to find the pH at the midpoint of the gradual increase during the first part of the plot of data.

•	Hint: Put the cursor at the beginning of the most linear part of the gradual increase section and make a note of the y-coordinate at that point. Then move the cursor to the point where the pH begins to rise sharply and make another note of the y-coordinate at the second point. Move the cursor to a point exactly halfway between the first and second point, and record the y-coordinate at that point.

3.	Find the pH at the equivalence point (the midpoint of the nearly vertical section of the plot). Use the ‘Derivative’ function to find the place where the change in pH is maximum.

•	Hint: In DataStudio, click-and-drag ‘Run #1’ under the ‘Equivalence Point’ calculation in the Summary list to ‘Graph 1’ in the Display list. (This adds a plot of the derivative of pH with respect to time to the Graph display.)

•	Click the ‘Graph Settings menu’ button () in the Graph display and select ‘Multiple Y Scales’ from the menu. (This overlays the plot of the derivative of pH and the plot of pH. Notice that the maximum peak of the derivative of pH is at the midpoint of the nearly vertical section of the plot of pH.)

•	Click ‘pH, ChA’ in the Graph’s legend to make the pH plot active. Then use the ‘Smart Tool’ to find the coordinates of the point where the derivative plot intersects the pH plot. Record the y-coordinate of this point as the pH of the equivalence point.

•	Hint: In ScienceWorkshop, click the ‘Statistics menu’ button and select ‘Derivative’ from the menu.

Use the ‘Smart Cursor’ to line up the highest peak of the derivative with a point on the plot of pH. Record the y-coordinate of this point as the pH of the equivalence point.

4.	Use the value of pKa to find the value of Ka. (Remember, Ka is the negative antilog of pKa.)

## Record your results in the Lab Report section.

# Lab Report - Activity C31: Neutralization of Vinegar with Drain Cleaner

## What Do You Think?

The first purpose of this activity is to determine the Ka (acid dissociation constant) of vinegar (mild acetic acid). The second purpose of the activity is to determine the pH of the equivalence point of the reaction between acetic acid and the base used to neutralize the acid. Will the pH of the equivalence point be acidic, basic, or neutral?

## Data Table

| Item | Value |
| --- | --- |
| beginning pH |  |
| ending pH |  |
| estimate of pH for pKa |  |
| estimate of pH for equivalence point |  |
| Ka for the acid |  |

## Questions

1.	What was the beginning pH of the vinegar solution?

2.	What was the pH of the ending solution of vinegar and drain cleaner?

3.	What is the pKa of the acid? What is the Ka of the acid?

4.	The reaction of acetic acid and sodium hydroxide forms sodium acetate. What does the pH of the equivalence point (the pKsp of the salt, sodium acetate) tell you about the salt?

# Text boxes

Connect to the sensor.

Remove the bottle of buffer solution.