# Activity C32: Acid-Base Titration
(pH Sensor)

| Concept | DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- | --- |
| Acids, bases & salts | C32 Titration.DS | C32 Acid-Base Titration | C32_ACID.SWS |

| Equipment Needed | Qty | Equipment Needed | Qty |
| --- | --- | --- | --- |
| pH Sensor (CI-6507A) | 1 | Wash bottle | 1 |
| Base and support rod (ME-9355) | 1 | Protective gear | PS |
| Beaker, 250 mL | 6 | Chemicals and Consumables | Qty |
| Buret, 50 mL | 1 | Buffer solution: high pH | 100 mL |
| Clamp, buret (SE-9446) | 2 | Buffer solution: low pH | 100 mL |
| Graduated cylinder | 1 | Hydrochloric acid, unknown | 10 mL |
| Magnetic stirrer and stir bar | 1 | Sodium hydroxide, 0.10 molar | 100 mL |
| Pipette, 10 mL | 1 | Water, distilled | 500 mL |

## What Do You Think?

In this activity you can use a computer to measure pH as you add 0.10 molar sodium hydroxide to hydrochloric acid of unknown concentration. Can you use a graph of pH versus volume to determine the equivalence point? Can you use the volume of the sodium hydroxide titrant used at the equivalence point to determine the molarity of the hydrochloric acid?

Take time to answer the ‘What Do You Think?’ question(s) in the Lab Report section.

## Background

A titration is a process used to determine the volume of a solution needed to react with a given amount of another substance. For example, when a hydrochloric acid solution is titrated with a sodium hydroxide solution, the pH of the acidic solution is initially low. As the base is added, the change in pH is quite gradual until close to the equivalence point, where equimolar amounts of acid and base have been mixed. Near the equivalence point, the pH increases very rapidly. The change in pH then becomes more gradual again before leveling off with the addition of excess base.

Hydrogen ions from the hydrochloric acid react with hydroxide ions from the sodium hydroxide in a one-to-one ratio to produce water in the overall reaction:

H+(aq) + Cl-(aq) + Na+(aq) + OH-(aq) ---> H2O + Cl-(aq) + Na+(aq)

Because the overall reaction is one-to-one, the number of moles of hydrochloric acid equals the number of moles of sodium hydroxide. The molarity of the hydrochloric acid is as follows:

| SAFETY REMINDERS Wear protective gear. Follow directions for using the equipment. Handle and dispose of all chemicals and solutions properly. |  |  |  |
| --- | --- | --- | --- |

CAUTION: Never pipette by mouth. Always use a pipette bulb or a pipette pump. Be careful when handling any acid or base solutions.

## For You To Do

Titrate hydrochloric acid solution, HCl, with a basic sodium hydroxide solution, NaOH, of known molarity. Use the pH Sensor to measure the change in pH of the acid solution. Use DataStudio or ScienceWorkshop to record the change in pH of the acid and the volume of basic solution added. Use the software to display your data and use your data to determine the concentration (molarity) of the acid solution.

## PART I: Computer Setup

1.	Connect the ScienceWorkshop interface to the computer, turn on the interface, and turn on the computer.

2.	Connect the DIN plug of the pH Sensor to Analog Channel A on the interface.

3.	Open the file titled as shown;

| DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- |
| C32 Titration.DS | C32 Acid-Base Titration | C32_ACID.SWS |

•	The DataStudio file has a Digits display, a Table display, and a Graph display of pH versus volume. Read the Workbook display for more information.

•	The ScienceWorkshop document has a Digits display, a Table display and a Graph display of the pH versus volume.

•	Data recording is set at one measurement per second (1 Hz). Data recording is also set so that you can manually enter the volume of the sodium hydroxide titrant.

## PART II: Sensor Calibration and Equipment Setup

### Calibrate the Sensor

•	To calibrate the pH Sensor you will need the following: wash bottle, distilled water, three beakers, buffer solutions of high pH (e.g. pH 10) and low pH (e.g. pH 4), pH Sensor.

•	Put distilled water into the wash bottle and into one of the beakers. Put about 100 mL of the high pH buffer solution in one of the other two beakers and about 100 mL of the low pH buffer solution into the third beaker.

1.	Remove the pH electrode from its bottle of buffer solution. Connect the electrode to the pH Sensor amplifier. To connect the electrode, push the BNC plug onto the receptacle on the Sensor amplifier and turn the BNC plug clockwise until it ‘clicks’ into place.

2.	Use the wash bottle to rinse the end of the electrode. Soak the pH electrode in the beaker of distilled water for 10 minutes.

3.	In the Experiment Setup window, double-click the pH Sensor icon.

•	In DataStudio, the Sensor Properties window will open. Click the ‘Calibration’ tab. In ScienceWorkshop, the Sensor Setup window will open.

4.	Calibrate with the high pH buffer solution.

- Put the end of the pH electrode into the high pH buffer solution.

- Check the voltage under ‘Current Reading’ in DataStudio or next to ‘Cur Value:’ in ScienceWorkshop.

- When the voltage stabilizes, click the ‘Take Reading’ button under ‘High Point’ in DataStudio or the ‘Read’ button in the row for ‘High Value:’ in ScienceWorkshop.

- Enter the pH value of the buffer solution.

5.	Thoroughly rinse the pH electrode with distilled water and dry it with a tissue.

6.	Calibrate with the low pH buffer solution.

- Put the end of the pH electrode in the low pH buffer solution.

- Check the voltage under ‘Current Reading’ in DataStudio or next to ‘Cur Value:’ in ScienceWorkshop.

- When the voltage stabilizes, click the ‘Take Reading’ button under ‘Low Point’ in DataStudio or the ‘Read’ button in the row for ‘Low Value:’ in ScienceWorkshop.

- Enter the pH value of the buffer solution. Click OK to return to the Experiment Setup window.

7.	Thoroughly rinse the pH electrode with distilled water and dry gently.

### Equipment Setup

•	For this part you will need the following: hydrochloric acid solution, distilled water, 250-mL beakers, 50-mL buret, pH Sensor, buret clamps, base and support rod, magnetic stirrer and stir bar, 0.10 molar sodium hydroxide solution.

1.	Put 50 mL of distilled water into a clean dry 250-mL beaker.

2.	Use a pipette to add 10.00 mL of the hydrochloric acid solution into the beaker with the distilled water.

3.	Carefully add a spin bar to the beaker. Place the beaker on the magnetic stirrer.

4.	Use a clamp and base and support rod to position the pH electrode so the end of the electrode is in the acid solution, but will not interfere with the spin bar.

5.	Rinse the 50-mL buret with a few milliliters of the 0.100 molar sodium hydroxide solution. Dispose of the rinse solution as directed.

6.	Use another clamp to support the 50-mL buret so the end of the buret is above the acid solution. (Be sure the buret valve is closed!)

7.	Fill the buret with 0.100 molar sodium hydroxide solution. Be sure to start the titration with the buret filled exactly to the 0.00 mL mark.

8.	Turn on the magnetic stirrer. (Note: If a magnetic stirrer is not available, carefully stir the solution with a stirring rod.)

9.	Record the precise concentration of the sodium hydroxide solution in the Lab Report section.

## PART III: Data Recording – Acid-Base Titration

•	Note: Data recording goes faster if one person controls the buret value and reads the volume of titrant added to the acid while a second person operates the computer and enters the volumes.

•	In DataStudio, arrange the displays so you can see the Table. In ScienceWorkshop, arrange the displays so you can see the Digits display.

1.	When you are ready, start recording data. (Hint: Click ‘Start’ in DataStudio or click ‘REC’ in ScienceWorkshop. )

•	In DataStudio, the ‘Start’ button changes to a ‘Keep’ button (). In ScienceWorkshop, the ‘Keyboard Sampling’ window opens.

2.	In DataStudio, the first row of the Table shows the beginning value of pH.

In ScienceWorkshop, the Digits display shows the pH reading.

NOTE: Do not add any NaOH titrant for the first reading.

When the pH value stabilizes, click the ‘Keep’ button in DataStudio  and then click the Tab key to move to the next row in the Table. In ScienceWorkshop, type in “0.00” in the Keyboard Sampling window for Entry #1, and then click the ‘Enter’ button ().

•	In DataStudio, the Table shows the first ‘pH, volume’ pair in the first row. In ScienceWorkshop, the ‘Keyboard Sampling’ dialog box changes to show the number you entered.

3.	Open the buret's valve and add the first amount of NaOH. Add enough titrant to raise the pH by 0.15 units and then close the valve.

4.	After the titrant has been added and the pH reading stabilizes, type the total volume of NaOH added into the next row in the Table in DataStudio and then click the ‘Keep’ button. In ScienceWorkshop, type the volume into the ‘Keyboard Sampling’ window and click the ‘Enter’ button.

5.	Add the next increment of NaOH (enough to raise the pH by 0.15 units). When the pH stabilizes, type in the total amount of NaOH added and then click the ‘Keep’ button and then the Tab key (in DataStudio) or click the ‘Enter’ button (in ScienceWorkshop).

6.	Continue adding NaOH solution in amounts that raise the pH by about 0.15 units and type in the total volume of NaOH added each time.

7.	When pH 3.5 is reached, change to 2-drop increments. Continue to type in the total volume of NaOH added after each increment.

8.	After pH 10 is reached, again add larger increments of NaOH (enough to raise the pH by about 0.15 units) and type in the total volume of NaOH added.

9.	Add NaOH until the pH remains constant. Stop data recording. (Hint: In DataStudio, click the ‘Stop’ button (). In ScienceWorkshop, click the ‘Stop Sampling’ button (). The Keyboard Sampling window will automatically close.)

10.	When data recording stops, turn off the magnetic stirrer. Remove the pH sensor from the solution. Rinse the pH sensor in distilled water and dry the sensor gently.

11.	Dispose of the solution in the beaker as instructed.

•	If time permits, repeat the procedure.

## Analyzing the Data

1.	Use the ‘Smart Tool’ in DataStudio or the ‘Smart Cursor’ in ScienceWorkshop to find the value of the pH in the plot of Run #1 just before the largest pH increase. Record the X-coordinate as the “NaOH volume added before largest pH increase”.

2.	Move the ‘Smart Tool’ or ‘Smart Cursor’ to the place in the plot of Run #1 just after the largest pH increase. Record the X-coordinate as the “NaOH volume added after largest pH increase”.

3.	Calculate and record the average of the NaOH volumes just before and just after the largest pH increase.

4.	Move the ‘Smart Tool’ or ‘Smart Cursor’ to the point on the plot of Run #1 where the pH is 7.0 (or as close as possible). Record the X-coordinate as the “NaOH volume added at the equivalence point.

•	The average of the volume of NaOH just before and just after the largest pH increase should equal the volume of NaOH added at pH = 7.

5.	Calculate the number of moles of NaOH used.

6.	Use the equation for the neutralization reaction to calculate the number of moles of HCl used.

•	Recall that you pipetted out 10.00 mL of the unknown HCl solution for the titration.

7.	Calculate the HCl concentration in mole/liter (mol/L).

## Optional

•	If you did two titrations, determine the average concentration of HCl.

## Record your results in the Lab Report section.

# Lab Report - Activity C32: Acid-Base Titration

## What Do You Think?

In this activity you can use a computer to measure pH as you add 0.10 molar sodium hydroxide to hydrochloric acid of unknown concentration. Can you use a graph of pH versus volume to determine the equivalence point? Can you use the volume of the sodium hydroxide titrant used at the equivalence point to determine the molarity of the hydrochloric acid?

## Data Table

Use volume in liters for the calculations.

# moles NaOH = volume x molarity.

# moles HCl = # moles NaOH

|  | Trial 1 | Trial 2 |
| --- | --- | --- |
| Volume HCl | mL | mL |
| Concentration of NaOH | M | M |
| NaOH volume added before largest pH increase | mL | mL |
| NaOH volume added after largest pH increase | mL | mL |
| Average of NaOH before and after pH increase | mL | mL |

| NaOH volume added at equivalence point | mL | mL |
| --- | --- | --- |
| Moles NaOH | mol | mol |
| Moles HCl | mol | mol |
| Concentration of HCl | mol/L | mol/L |
| Average (HCl) | M |  |

## Question

1.	Based on your data, what is the concentration of hydrochloric acid?

# Text boxes

Connect to the sensor.

Remove the bottle of buffer solution.