# Activity GS05: Mass on a Spring – Mechanics
(Force Sensor, Motion Sensor)

| Concept | DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- | --- |
| Mechanics | GS05 Mass on a Spring.DS | G05 SHM Mass on a Spring | G05_MASS.SWS |

| Equipment Needed | Qty | Equipment Needed | Qty |
| --- | --- | --- | --- |
| Economy Force Sensor (CI-6746) | 1 | Mass and Hanger Set (ME-9348) | 1 |
| Motion Sensor (CI-6742) | 1 | Meter stick | 1 |
| Balance (SE-8723) | 1 | Support rod (ME-8736) | 1 |
| Base and Support Rod (ME-9355) | 1 | Spring, k ~ 2 to 4 N/m (632-04978) | 1 |
| Clamp, right-angle (SE-9444) | 1 |  |

## What Do You Think?

What is the motion of a mass oscillating on a spring? What other motions can you think of that are similar?

Take time to answer the ‘What Do You Think?’ question(s) in the Lab Report section.

## Background

Imagine a spring that is hanging down. When no mass hangs at the end of the spring, the spring has a certain length L (called its rest length). When a mass is added to the spring, the spring is stretched a little bit to a new length. Add some more mass and the spring stretches some more.

If you pull the mass down to stretch the spring and then release the mass, it bobs up and down on the end of the spring. It takes a certain amount of time for the mass to go from the bottom position all the way up and back down again one time. This is called the period of oscillation (or period for short).

(Eventually the mass will stop moving. Its energy is converted into other forms as the spring stretches and compresses.)

There are two main factors that determine how long it takes for the mass on the spring to go from down-to-up-to-down (or one period).

One factor is the amount of mass that the spring has to lift when it moves up. The more mass, the longer the time. Another factor is the stiffness of the spring. If the spring is very stiff (strong) it can lift the mass more quickly. The stiffer the spring, the shorter the time.

When a spring is stretched or compressed, the spring exerts a restoring force. The restoring force causes the mass to bob up and down. The total amount of restoring force that the spring exerts depends on how strong (stiff) the spring is and the amount of distance that it is stretched or compressed. The formula for the total amount of restoring force is:

F = -kx

where F is the amount of force, x is the distance the spring is stretched or compressed, and k is the strength of the spring, called the spring constant. (This formula is called Hooke’s Law in honor of Robert Hooke, an English scientist who lived from 1635 to 1703.) The negative sign indicates that the force points opposite to the direction that the spring is stretched or compressed. This means that when you pull on the spring to stretch it, it pulls against you. When you push on the spring to compress it, it pushes against you again.

You can predict how long the period of oscillation will be if you know the mass on the end of the spring and the spring constant. The formula that gives the period when you know the mass and the spring constant is:

where T is the period of oscillation, is the Greek letter “pi” and represents 3.1415…, m is the mass, and k is the string constant.

| SAFETY REMINDER • Follow the directions for using the equipment. |  |
| --- | --- |

## Pre-Lab For You To Do

In the Pre-lab use the Force Sensor to measure the weight of a hanging mass. Use ‘Keyboard Sampling’ to enter the displacement of the spring from equilibrium. Use DataStudio or ScienceWorkshop to determine the spring constant k for the spring.

## Pre-Lab PART I: Computer Setup

1.	Connect the ScienceWorkshop interface to the computer, turn on the interface, and turn on the computer.

2.	Connect the DIN plug of the Force Sensor to Analog Channel A.

3.	Open the document titled as shown:

| DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- |
| P14 Prelab SHM.DS | X19 Spring Constant | X19_SPNG.SWS |

•	The DataStudio document has a Workbook display. Read the instructions in the Workbook.

•	The ScienceWorkshop document has a Graph display of Force versus Stretch and a Digits display of Force.

•	Data recording is set for 5 Hz. Use ‘Keyboard Sampling’ to enter the distance stretched in meters.

## Pre-Lab PART II: Sensor Calibration and Equipment Setup

•	To calibrate the Force Sensor, refer to the description in the Force Sensor Manual.

1.	Using the rod and support stand, the clamp, and the second rod, mount the Force Sensor vertically so its hook end is down.

2.	Suspend the spring from the Force Sensor’s hook so that it hangs vertically.

3.	Use the meter stick to measure the position of the bottom end of the spring (without any mass added to the spring). For your reference, record this measurement as the spring’s equilibrium position in the Data Table in the Lab Report section.

## Pre-Lab PART II: Data Recording

1.	Press the tare button on Force Sensor to zero the Force Sensor.

2.	Start data recording.

In DataStudio, move the Table display so you can see it. Click the ‘Start’ button to start recording data.

•	The ‘Start’ button changes to a ‘Keep/Stop’ and a ‘Stop’ button (). The Force will appear in the first cell in the Table display. Click the ‘Keep’ button to record the force value.

In ScienceWorkshop, click the ‘REC’ button to begin collecting data.

•	The ‘Keyboard Sampling’ window will open. Move it so you can also see the Digits display. ‘Entry #1’ has a default value that you can ignore. Type in ‘0’ as the stretch. Click ‘Enter’ to record the stretch and force values. The entered stretch value will appear in the Data list.

3.	Add 20 grams of mass to the end of the spring (be sure to include the mass of the hanger).

4.	Measure the new position of the end of the spring. Enter the difference between the new position and the equilibrium position as the (x, ‘Stretch’ (in meters), and record a Force value for this Stretch value by clicking on ‘Keep’ in DataStudio, or ‘Enter’ in ScienceWorkshop.

5.	Add 10 grams to the spring (for a total of 30 g additional mass). Measure the new position of the end of the spring, enter the stretch value and click ‘Keep’ or ‘Enter’ to record the force value.

6.	Continue to add mass in 10 gram increments until you have added 70 grams. Each time you add mass, measure and enter the new displacement value from equilibrium. Click ‘Keep’ in DataStudio, or ‘Enter’ in ScienceWorkshop to record the force value.

7.	End data recording.

•	In DataStudio, stop data recording by clicking on the ‘Stop’ button.

•	In ScienceWorkshop, stop data recording by clicking the ‘Stop Sampling’ button in the Keyboard Sampling window.

•	The data will appear as Run #1.

## Pre-Lab Analyzing the Data

1.	Determine the slope of the Force vs. Stretch Graph.

•	In DataStudio, click the ‘Scale to fit’ button () to rescale the Graph axes to fit the data. Next, click the ‘Fit’ menu button (). Select ‘Linear’.

•	In ScienceWorkshop, click the ‘Autoscale’ button () to rescale the Graph axes to fit the data. Click the ‘Statistics’ button to open the Statistics area on the right side of the Graph. In the Statistics area, click the Statistics Menu button (). Select ‘Curve Fit, Linear Fit’ from the Statistics Menu.

2.	Record the slope of the linear fit in the Data Table in the Lab Report section.

## For You To Do

Use the Motion Sensor to record the motion of a mass on the end of the spring. Use DataStudio or ScienceWorkshop to determine the period of oscillation and compare the value to the theoretical period of oscillation.

## PART I: Computer Setup

1.	Unplug the Force Sensor’s DIN plug from the interface.

2.	Connect the Motion Sensor’s stereo phone plugs into Digital Channels 1 and 2 of the interface. Plug the yellow-banded (pulse) plug into Digital Channel 1 and the second plug (echo) into Digital Channel 2.

3.	Open the document titled as shown:

| DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- |
| GS05 Mass on a Spring.DS | G05 SHM Mass on a Spring | G05_MASS.SWS |

•	The DataStudio document has a Workbook display. Read the instructions in the Workbook.

•	The ScienceWorkshop document has a Graph display of Position and Velocity vs. Time.

## PART II: Sensor Calibration and Equipment Setup

•	You do not need to calibrate the Motion Sensor.

1.	Using a support rod and clamp, suspend the spring so that it can move freely up-and-down. Put a mass hanger on the end of the spring.

2.	Add enough mass to the hanger so that the spring's stretched length is between 6 and 7 times its unloaded length (about 70 grams if you are using the harmonic spring from the PASCO Introductory Dynamics System.)

3.	Remove the hanger and masses temporarily. Measure and record their total in the Data section. Return the hanger and masses to the end of the spring.

4.	Place the Motion Sensor on the floor directly beneath the mass hanger.

5.	Adjust the position of the spring so that the minimum distance from the mass hanger to the Motion Sensor is greater than the Motion Sensor’s minimum distance at the maximum stretch of the spring.

## PART III: Data Recording

1.	Pull the mass down to stretch the spring about 20 cm. Release the mass. Let it oscillate a few times so the mass hanger will move up-and-down without much side-to-side motion.

2.	Start recording data.

•	The Graph displays the plots of the position and velocity of the mass as it moves up and down.

3.	Continue recording for about 10 seconds and then ‘Stop’ data recording.

•	The data will appear as ‘Run #1’.

•	The position curve should resemble the plot of a sine function. If it does not, check the alignment between the Motion Sensor and the bottom of the mass hanger at the end of the spring. You may need to increase the reflecting area of the mass hanger by attaching a circular paper disk (about 2” diameter) to the bottom of the mass hanger.

•	To erase a run of data, select the run in the Data list and press the “Delete” key.

## Analyzing the Data

1.	Rescale the Graph to fit the data.

•	In DataStudio, click on the ‘Scale to Fit’ button ().

•	In ScienceWorkshop, click on the ‘Autoscale’ button ().

2.	Find the average period of oscillation of the mass.

In DataStudio, click the ‘Smart Tool’ button ().

•	Move the Smart Tool to the first peak in the plot of position versus time and read the value of time. Record the value of time in the Data Table in the Lab Report section.

•	Move the Smart Tool to each consecutive peak in the plot and record the value of time shown for each peak.

In ScienceWorkshop, in the Graph display, click the ‘Smart Cursor‘ ().

•	Move the Smart Cursor to the first peak in the plot of position versus time and read the value of time (shown below the horizontal axis). Record the value of time in the Data Table in the Lab Report section.

•	Move the Smart Cursor to each consecutive peak in the plot and record the value of time shown below the horizontal axis for each peak.

3.	Find the period of each oscillation by calculating the difference between the time for each successive peak. Find the average of the periods. Record your result in the Data Table.

# Record your results in the Lab Report section.

# Lab Report - Activity GS05: Mass on a Spring – Mechanics

## What Do You Think?

What is the motion of a mass oscillating on a spring? What other motions can you think of that are similar?

## Pre-Lab Data Table

| Item | Value |
| --- | --- |
| Equilibrium Position | m |
| Spring Constant (slope) | N/m |

## Data Table

Mass = _____0.070 kg

| Peak | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Time (s) |  |  |  |  |  |  |  |
| Period (s) |  |  |  |  |  |  |  |

Average period of oscillation = __________s

## Questions

1.	Calculate the theoretical value for the period of oscillation based on the measured value of the spring constant of the spring and the mass on the end of the spring.

2.	How does your calculated value for oscillation compare to the measured value of the period of oscillation? What is the percent difference?

3.	When the position of the mass is farthest from the equilibrium position, what is the velocity of the mass?

4.	When the absolute value of the velocity of is greatest, where is the mass relative to the equilibrium position?

## ---------------------------

## Ending the Activity

•	Check with your instructor about putting away the equipment for this activity.

## Computer Shutdown

When you have finished, you have several options.

1.	You can select Quit from the File menu to end the activity.

2.	You can select Save or Save As… from the File menu to save your data for this activity and the changes you’ve made to the document.

•	The original document is “locked”, so you should give your document a new filename.

3.	If you wish to go on to the next activity, select Open… from the File menu, and find the document for the next activity.