Ocean Floor Mapping

| Equipment Needed | Consumables |
| --- | --- |
| • ScienceWorkshop® Interface | • materials to build up terrain (boxes, books, chairs, etc.) |
| • Motion Sensor |  |
| • area to use as ocean floor |  |

Purpose

The purpose of this activity is to use the Motion Sensor to record an image of the terrain on the ocean floor.

Procedure

|  |  | Set up an area of the room to represent the ocean floor. Stack books, boxes, or other objects to give a random, uneven surface. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Turn on the interface box and the computer. Plug a Motion Sensor into digital channel 1 (yellow) and 2 (black) of the interface box. |  |  |  |  |  |  |
|  |  | Open the Experiment Library template file: |  |  |  |  |  |  |
|  |  |  | ScienceWorkshop |  | DataStudio |  |  |  |
|  |  |  | MSS27 |  | MSS27 Ocean Floor Mapping.ds |  |  |  |
|  |  | You are now ready to disconnect the interface box. To do so, on Experiment menu, click Disconnect for Data Logging (ScienceWorkshop) or click the Logging button on the Setup toolbar (DataStudio). Note: Printing the checklist is an option. Follow your teacher’s instructions about whether or not to print the checklist. |  |  |  |  |  |  |
|  |  | Disconnect the computer cable and the power cord from the back of the interface box. Leave the interface box turned on and the Motion Sensor plugged in. (The ScienceWorkshop 500 Interface will let you know when it is ready to begin recording data remotely. When it is ready, a green light on the front will flash once every 5 seconds. This means it is in a “Sleep Mode” to save the batteries for actual data logging.) |  |  |  |  |  |  |
|  |  | Carry the interface box and sensor to the ocean floor area. Begin logging data. To do so, ”wake up” the interface box by pushing—and holding down for a second—the LOG button on the front of the box. The green light will flash 10 times and then begin to flash rapidly. You will hear a clicking noise from the Motion Sensor. It is now recording data. |  |  |  |  |  |  |
|  | Move the Motion Sensor slowly and steadily over the ocean floor, at a height of one meter above the floor. Make sure that the round metal screen on the sensor is facing the floor, and that your arms and body don’t get in between the ocean floor and the Motion Sensor. |  |  |  |  |  |  |  |
|  | Press the LOG button to end recording. Return the interface box to the computer and reconnect the computer and power cables. On the Experiment menu, click Connect to Interface (ScienceWorkshop) or click the Connect button (DataStudio). |  |  |  |  |  |  |  |
|  | Your data will appear on the screen on a Position vs. Time graph. Re-scale the graph. |  |  |  |  |  |  |  |
|  |  |  |  | Compare the shape of the graph on the screen to the height and shape of the objects that represent the ocean floor. Can you identify specific features of the ocean floor terrain? |  |  |  |  |