# Activity SL28: Induction – Magnet through a Coil 
(Voltage Sensor)

| Concept | #### DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- | --- |
| Electromagnetism | P41 Induction.DS | P41 Induction - Magnet | P41_INDU.SWS |

| ## Equipment Needed | ## Qty | ## Equipment Needed | ## Qty |
| --- | --- | --- | --- |
| Voltage Sensor (CI-6503) | 1 | Bar Magnet, alnico (EM-8620) | 2 |
| AC/DC Electronics Lab (EM-8656) | 1 |  |  |

## What Do You Think?

When electricity is passed through a conducting wire a magnetic field can be detected near the wire. Micheal Faraday was one of the first scientists to reverse the process. The essence of his work is decribed in the following statement:

You can send electricity through a conducting wire to make a magnetic field. Is the reverse possible? Can you use a magnet and a conducting wire to make electricity?

Take time to write answers to these questions in the Lab Report section.

The purpose of this activity is to measure the Electromotive Force (EMF) induced in a coil by a magnet dropping through the center of a coil.

## Background

When a magnet is passed through a coil there is a changing magnetic flux through the coil which induces an Electromotive Force (EMF) in the coil. According to Faraday’s Law of Induction:

where  is the induced EMF, N is the number of turns of wire in the coil, and  is the rate of change of the flux through the coil.

In this activity, a plot of the EMF versus time is made and the area under the curve is found by integration. This area represents the flux since:

| ## SAFETY REMINDERS - Follow directions for using the equipment. |  |
| --- | --- |

## For You To Do

Use the Voltage Sensor to measure the voltage (EMF) induced in a coil as a bar magnet moves through the coil. Use DataStudio or ScienceWorkshop to record, display, and analyze the data.

## PART I: Computer Setup

1.	Connect the interface to the computer, turn on the interface, and turn on the computer.

2.	Connect the Voltage Sensor DIN plug into Analog Channel A. Connect the Photogate stereo phone plug into Digital Channel 1.

3.	Open the document titled as shown:

| #### DataStudio | ScienceWorkshop (Mac) | ScienceWorkshop (Win) |
| --- | --- | --- |
| P41 Induction.DS | P41 Induction - Magnet | P41_INDU.SWS |

- The DataStudio document has a Workbook display. Read the instructions in the Workbook.

- The ScienceWorkshop document opens with a Graph display of Voltage vs. Time and a Meter display of Voltage.

- Data recording is set at 200 Hz. The Start Condition is set to begin when voltage is at 0.05 volts. The Stop Condition is set when Time = 0.4 seconds.

- Note: In DataStudio, the data recorded for 0.3 seconds prior to the Start Condition are kept as well.

## PART II: Sensor Calibration and Equipment Setup

- You do not need to calibrate the Voltage Sensor.

1.	Put alligator clips on the ends of the Voltage Sensor leads.

2.	Attach a Voltage Sensor lead to one component spring next to the inductor coil on the circuit board. Attach the other lead to the other component spring next to the coil.

3.	Arrange the circuit board so the corner with the coil is beyond the edge of the table, and a magnet dropped through the coil can fall freely.

•	The bar magnet will be dropped through the coil. Make sure that the magnet does not strike the floor, or it may break.

## Part III: Data Recording

1.	Hold the magnet so that the south end is about 2 cm above the coil.

•	Note: If you are using the PASCO Model EM-8620 Alnico Bar Magnet the North end is indicated by the narrow groove near one end. For the first run, hold the magnet with groove end ‘up’.

2.	Start recording data. Let the magnet drop through the coil.

- Data recording will begin when the magnet falls through the coil and the voltage from the coil reaches 0.05 V. Data recording will end automatically after 0.5 seconds.

## Analyzing the Data

- Set up your Graph to show the area under the curve of voltage versus time.

- Hint: In DataStudio, click the Statistics menu button () and select ‘Area’.

- Hint: In ScienceWorkshop, click the Statistics button () to open the Statistics area on the right side of the graph. Click the Autoscale button () to rescale the graph to fit the data. In the Statistics area, click the Statistics Menu button (). Select ‘Integration’ from the menu.

- In the Graph display, use the cursor to select a rectangle around the first peak of the voltage plot.

- In DataStudio, the value for ‘Area’ appears in the legend in the Graph. In ScienceWorkshop, the ‘area’ under the curve for the first peak appears in the statistics area under ‘Integration’ on the right side of the Graph.

4.	Record the value of Integration for the first peak.

Integration (first peak) = __________ V*sec

5.	Repeat the process to find the area under the second peak. Record the value.

Integration (second peak) = __________ V*sec

# Record your results in the Lab Report section.

## Optional

Repeat the data recording and data analysis procedures for the following optional setups:

- Tape two bar magnets together so both south ends are together.

- Re-arrange the two bar magnets so that the south end of one is with the north end of the other.

# Lab Report - Activity SL28: Induction – Magnet through a Coil

## What Do You Think?

When electricity is passed through a conducting wire a magnetic field can be detected near the wire. Micheal Faraday was one of the first scientists to reverse the process. The essence of his work is decribed in the following statement:

You can send electricity through a conducting wire to make a magnetic field. Is the reverse possible? Can you use a magnet and a conducting wire to make electricity?

## Data

Integration (first peak) = ________ V*sec

Integration (second peak) = ________ V*sec

## Questions

1.	Is the incoming flux equal to the outgoing flux?

2.	Why is the outgoing peak higher than the incoming peak?

3.	Why are the peaks opposite in direction?